## Sheet1
Symmetrical test, case 1
CC.7.6.13 | TABLE: Insulation resistance checks before pre-charge (cable-check) |  |  |  |  | P/F
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) | RT5 Resistance (kΩ) | RT6 Resistance (kΩ)
Symmetrical test, Case 1 |  | Closed | 2 | kΩ | kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
1_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
1_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
1_参数_6_图片
输出电压, 输出电流, 控制电路供电
1_参数_7
Symmetrical test, case 2
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Symmetrical test, Case 2, 1st test |  | Closed | 2 |  | kΩ |  | kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
2_1_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
2_1_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC |  | Limit (s) |  | Control circuit supply voltage UCC (v)
2_1_参数_3 | 2.5 s | 2_1_参数_4 |  | 1 s |  | 2_1_参数_5
2_1_参数_6_图片
输出电压, 输出电流, 控制电路供电
2_1_参数_7
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Symmetrical test, Case 2, 2nd test |  | Closed | 2.5 |  | kΩ |  | kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
2_2_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
2_2_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC |  | Limit (s) |  | Control circuit supply voltage UCC (v)
2_2_参数_3 | 2.5 s | 2_2_参数_4 |  | 1 s |  | 2_2_参数_5
2_2_参数_6_图片
输出电压, 输出电流, 控制电路供电
2_2_参数_7
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Symmetrical test, Case 2, 3rd test |  | Closed | 5 |  | kΩ |  | kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
2_3_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
2_3_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC |  | Limit (s) |  | Control circuit supply voltage UCC (v)
2_3_参数_3 | 2.5 s | 2_3_参数_4 |  | 1 s |  | 2_3_参数_5
2_3_参数_6_图片
输出电压, 输出电流, 控制电路供电
2_3_参数_7
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Symmetrical test, Case 2, 4th test |  | Closed | 10 |  | kΩ |  | kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
2_4_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
2_4_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC |  | Limit (s) |  | Control circuit supply voltage UCC (v)
2_4_参数_3 | 2.5 s | 2_4_参数_4 |  | 1 s |  | 2_4_参数_5
2_4_参数_6_图片
输出电压, 输出电流, 控制电路供电
2_4_参数_7
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Symmetrical test, Case 2, 5th test |  | Closed | 15 |  | kΩ |  | kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
2_5_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
2_5_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC |  | Limit (s) |  | Control circuit supply voltage UCC (v)
2_5_参数_3 | 2.5 s | 2_5_参数_4 |  | 1 s |  | 2_5_参数_5
2_5_参数_6_图片
输出电压, 输出电流, 控制电路供电
2_5_参数_7
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Symmetrical test, Case 2, 6th test |  | Closed | 25 |  | kΩ |  | kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
2_6_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
2_6_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC |  | Limit (s) |  | Control circuit supply voltage UCC (v)
2_6_参数_3 | 2.5 s | 2_6_参数_4 |  | 1 s |  | 2_6_参数_5
2_6_参数_6_图片
输出电压, 输出电流, 控制电路供电
2_6_参数_7
Asymmetrical test, case 3
Test description | ST12, ST14 state | CT1, CT2 capacitance (μF) | RT5 Resistance (kΩ) | RT6 Resistance (kΩ)
Asymmetrical test, Case 3 | Closed | 2 | kΩ | kΩ
VEVSE_CableCheck VT8 (V) | Limit (V)
3_参数_1 | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) | Limit (V)
3_参数_2 | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
3_参数_6_图片
3_参数_7
Asymmetrical test, case 4
Test description | ST12, ST14 state | CT1, CT2 capacitance (μF) | RT5 Resistance (kΩ) | RT6 Resistance (kΩ)
Asymmetrical test, Case 4 | Closed | 2 | kΩ | kΩ
VEVSE_CableCheck VT8 (V) | Limit (V)
4_参数_1 | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) | Limit (V)
4_参数_2 | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
4_参数_6_图片
4_参数_7
Asymmetrical test, case 5
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 5, 1st test |  | Closed | 2 |  | kΩ |  | kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
5_1_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
5_1_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC |  | Limit (s) |  | Control circuit supply voltage UCC (v)
5_1_参数_3 | 2.5 s | 5_1_参数_4 |  | 1 s |  | 5_1_参数_5
5_1_参数_6_图片
输出电压, 输出电流, 控制电路供电
5_1_参数_7
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 5, 2nd test |  | Closed | 2.5 |  | kΩ |  | kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
5_2_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
5_2_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC |  | Limit (s) |  | Control circuit supply voltage UCC (v)
5_2_参数_3 | 2.5 s | 5_2_参数_4 |  | 1 s |  | 5_2_参数_5
5_2_参数_6_图片
输出电压, 输出电流, 控制电路供电
5_2_参数_7
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 5, 3rd test |  | Closed | 5 |  | kΩ |  | kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
5_3_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
5_3_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC |  | Limit (s) |  | Control circuit supply voltage UCC (v)
5_3_参数_3 | 2.5 s | 5_3_参数_4 |  | 1 s |  | 5_3_参数_5
5_3_参数_6_图片
输出电压, 输出电流, 控制电路供电
5_3_参数_7
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 5, 4th test |  | Closed | 10 |  | kΩ |  | kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
5_4_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
5_4_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC |  | Limit (s) |  | Control circuit supply voltage UCC (v)
5_4_参数_3 | 2.5 s | 5_4_参数_4 |  | 1 s |  | 5_4_参数_5
5_4_参数_6_图片
输出电压, 输出电流, 控制电路供电
5_4_参数_7
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 5, 5th test |  | Closed | 15 |  | kΩ |  | kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
5_5_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
5_5_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC |  | Limit (s) |  | Control circuit supply voltage UCC (v)
5_5_参数_3 | 2.5 s | 5_5_参数_4 |  | 1 s |  | 5_5_参数_5
5_5_参数_6_图片
输出电压, 输出电流, 控制电路供电
5_5_参数_7
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 5, 6th test |  | Closed | 25 |  | kΩ |  | kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
5_6_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
5_6_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC |  | Limit (s) |  | Control circuit supply voltage UCC (v)
5_6_参数_3 | 2.5 s | 5_6_参数_4 |  | 1 s |  | 5_6_参数_5
5_6_参数_6_图片
输出电压, 输出电流, 控制电路供电
5_6_参数_7
Asymmetrical test, case 6
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 6, 1st test |  | Closed | 2 |  | kΩ |  | kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
6_1_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
6_1_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC |  | Limit (s) |  | Control circuit supply voltage UCC (v)
6_1_参数_3 | 2.5 s | 6_1_参数_4 |  | 1 s |  | 6_1_参数_5
6_1_参数_6_图片
输出电压, 输出电流, 控制电路供电
6_1_参数_7
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 6, 2nd test |  | Closed | 2.5 |  | kΩ |  | kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
6_2_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
6_2_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC |  | Limit (s) |  | Control circuit supply voltage UCC (v)
6_2_参数_3 | 2.5 s | 6_2_参数_4 |  | 1 s |  | 6_2_参数_5
6_2_参数_6_图片
输出电压, 输出电流, 控制电路供电
6_2_参数_7
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 6, 3rd test |  | Closed | 5 |  | kΩ |  | kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
6_3_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
6_3_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC |  | Limit (s) |  | Control circuit supply voltage UCC (v)
6_3_参数_3 | 2.5 s | 6_3_参数_4 |  | 1 s |  | 6_3_参数_5
6_3_参数_6_图片
输出电压, 输出电流, 控制电路供电
6_3_参数_7
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 6, 4th test |  | Closed | 10 |  | kΩ |  | kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
6_4_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
6_4_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC |  | Limit (s) |  | Control circuit supply voltage UCC (v)
6_4_参数_3 | 2.5 s | 6_4_参数_4 |  | 1 s |  | 6_4_参数_5
6_4_参数_6_图片
输出电压, 输出电流, 控制电路供电
6_4_参数_7
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 6, 5th test |  | Closed | 15 |  | kΩ |  | kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
6_5_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
6_5_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC |  | Limit (s) |  | Control circuit supply voltage UCC (v)
6_5_参数_3 | 2.5 s | 6_5_参数_4 |  | 1 s |  | 6_5_参数_5
6_5_参数_6_图片
输出电压, 输出电流, 控制电路供电
6_5_参数_7
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 6, 6th test |  | Closed | 25 |  | kΩ |  | kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
6_6_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
6_6_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC |  | Limit (s) |  | Control circuit supply voltage UCC (v)
6_6_参数_3 | 2.5 s | 6_6_参数_4 |  | 1 s |  | 6_6_参数_5
6_6_参数_6_图片
输出电压, 输出电流, 控制电路供电
6_6_参数_7
Disturbance test, case 7
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Disturbance test, Case 7 (long-term disturbance) |  | Closed | 2 |  | kΩ |  | kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
7_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
7_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC |  | Limit (s) |  | Control circuit supply voltage UCC (v)
7_参数_3 | 2.5 s | 7_参数_4 |  | 1 s |  | 7_参数_5
7_参数_6_图片
输出电压, 输出电流, 控制电路供电
7_参数_7
Disturbance test, case 8
Test description | ST12, ST14 state | CT1, CT2 capacitance (μF) | RT5 Resistance (kΩ) | RT6 Resistance (kΩ)
Disturbance test, Case 8 (short-term disturbance without insulation fault) | Closed | 2 | kΩ | kΩ
VEVSE_CableCheck VT8 (V) | Limit (V)
8_参数_1 | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) | Limit (V)
8_参数_2 | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
8_参数_6_图片
8_参数_7
Disturbance test, case 9
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Disturbance test, Case 9 (short-term disturbance with insulation fault) |  | Closed | 2 |  | kΩ |  | kΩ followed by
kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
9_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
9_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC |  | Limit (s) |  | Control circuit supply voltage UCC (v)
9_参数_3 | 2.5 s | 9_参数_4 |  | 1 s |  | 9_参数_5
9_参数_6_图片
输出电压, 输出电流, 控制电路供电
9_参数_7
Disturbance test, case 10
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Disturbance test, Case 10 (short-term disturbance with insulation fault) |  | Closed | 2 |  | kΩ followed by |  | kΩ
kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
10_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
10_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC |  | Limit (s) |  | Control circuit supply voltage UCC (v)
10_参数_3 | 2.5 s | 10_参数_4 |  | 1 s |  | 10_参数_5
10_参数_6_图片
输出电压, 输出电流, 控制电路供电
10_参数_7
Disturbance test, case 11
|  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Test description
Disturbance test, Case 11 (short-term disturbance with insulation fault) |  | Closed | 2 |  | kΩ followed by |  | kΩ followed by
[5 empty] | kΩ |  | kΩ
VEVSE_CableCheck VT8 (V) |  | Limit (V)
11_参数_1 |  | ① if VEV_MAX_CPD ≤ 500 V
VEVSE_CableCheck=min (VEV_MAX_CPD + 50 V, VEVSE_MAX_CPD, 500 V)
② if VEV_MAX_CPD > 500 V
VEVSE_CableCheck=min (1,1 × VEV_MAX_CPD, VEVSE_MAX_CPD)
Voltage deviation (V) |  | Limit (V)
11_参数_2 |  | ±5 % of the VEV_MAX_CPD= xxx V
±2 % of the VEVSE_MAX_CPD= xxx V
whichever deviation is less
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC |  | Limit (s) |  | Control circuit supply voltage UCC (v)
11_参数_3 | 2.5 s | 11_参数_4 |  | 1 s |  | 11_参数_5
11_参数_6_图片
输出电压, 输出电流, 控制电路供电
11_参数_7
Supplementary information: