## Sheet1
Symmetrical test, case 1
CC.7.6.14 | TABLE: Insulation resistance check to detect fault state during energy transfer | [6 empty] | P/F
Test description |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Symmetrical test, Case 1 |  | Closed | 2 |  | kΩ |  | kΩ
Operating points before fault occurrence |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  | 1_参数_1 |  | 1_参数_2 |  | 1_参数_3
The EVSE continue forward power transfer after close ST11 and ST13 | [5 empty] | 1_参数_4
1_参数_9_图片
输出电压, 输出电流
Symmetrical test, case 2
Test description |  |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Symmetrical test, Case 2, 1st test |  |  | Closed | 2 |  | kΩ |  | kΩ
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  |  | 2_1_参数_1 |  | 2_1_参数_2 |  | 2_1_参数_3
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC | Limit (s) | Time to EVSE sent error message (s) |  | Limit (s) |  | Control circuit supply voltage VS1 (v)
2_1_参数_5 | 11 s | 2_1_参数_6 | 12.5 s | 2_1_参数_7 |  | 11.5 s |  | 2_1_参数_8
2_1_参数_9_图片
输出电压, 输出电流, 控制电路供电
2_1_参数_10
Test description |  |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Symmetrical test, Case 2, 2nd test |  |  | Closed | 2.5 |  | kΩ |  | kΩ
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  |  | 2_2_参数_1 |  | 2_2_参数_2 |  | 2_2_参数_3
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC | Limit (s) | Time to EVSE sent error message (s) |  | Limit (s) |  | Control circuit supply voltage VS1 (v)
2_2_参数_5 | 11 s | 2_2_参数_6 | 12.5 s | 2_2_参数_7 |  | 11.5 s |  | 2_2_参数_8
2_2_参数_9_图片
输出电压, 输出电流, 控制电路供电
2_2_参数_10
Test description |  |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Symmetrical test, Case 2, 3rd test |  |  | Closed | 5 |  | kΩ |  | kΩ
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  |  | 2_3_参数_1 |  | 2_3_参数_2 |  | 2_3_参数_3
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC | Limit (s) | Time to EVSE sent error message (s) |  | Limit (s) |  | Control circuit supply voltage VS1 (v)
2_3_参数_5 | 11 s | 2_3_参数_6 | 12.5 s | 2_3_参数_7 |  | 11.5 s |  | 2_3_参数_8
2_3_参数_9_图片
输出电压, 输出电流, 控制电路供电
2_3_参数_10
Test description |  |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Symmetrical test, Case 2, 4th test |  |  | Closed | 10 |  | kΩ |  | kΩ
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  |  | 2_4_参数_1 |  | 2_4_参数_2 |  | 2_4_参数_3
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC | Limit (s) | Time to EVSE sent error message (s) |  | Limit (s) |  | Control circuit supply voltage VS1 (v)
2_4_参数_5 | 11 s | 2_4_参数_6 | 12.5 s | 2_4_参数_7 |  | 11.5 s |  | 2_4_参数_8
2_4_参数_9_图片
输出电压, 输出电流, 控制电路供电
2_4_参数_10
Test description |  |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Symmetrical test, Case 2, 5th test |  |  | Closed | 15 |  | kΩ |  | kΩ
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  |  | 2_5_参数_1 |  | 2_5_参数_2 |  | 2_5_参数_3
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC | Limit (s) | Time to EVSE sent error message (s) |  | Limit (s) |  | Control circuit supply voltage VS1 (v)
2_5_参数_5 | 11 s | 2_5_参数_6 | 12.5 s | 2_5_参数_7 |  | 11.5 s |  | 2_5_参数_8
2_5_参数_9_图片
输出电压, 输出电流, 控制电路供电
2_5_参数_10
Test description |  |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Symmetrical test, Case 2, 6th test |  |  | Closed | 25 |  | kΩ |  | kΩ
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  |  | 2_6_参数_1 |  | 2_6_参数_2 |  | 2_6_参数_3
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC | Limit (s) | Time to EVSE sent error message (s) |  | Limit (s) |  | Control circuit supply voltage VS1 (v)
2_6_参数_5 | 11 s | 2_6_参数_6 | 12.5 s | 2_6_参数_7 |  | 11.5 s |  | 2_6_参数_8
2_6_参数_9_图片
输出电压, 输出电流, 控制电路供电
2_6_参数_10
Asymmetrical test, case 3
Test description | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 3 | Closed | 2 |  | kΩ |  | kΩ
Operating points before fault occurrence | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 | 3_参数_1 |  | 3_参数_2 |  | 3_参数_3
The EVSE continue forward power transfer after close ST11 and ST13 |  |  |  |  | 3_参数_4
3_参数_9_图片
输出电压, 输出电流
Asymmetrical test, case 4
Test description | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 3 | Closed | 2 |  | kΩ |  | kΩ
Operating points before fault occurrence | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 | 4_参数_1 |  | 4_参数_2 |  | 4_参数_3
The EVSE continue forward power transfer after close ST11 and ST13 |  |  |  |  | 4_参数_4
4_参数_9_图片
输出电压, 输出电流
Asymmetrical test, case 5
Test description |  |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 5, 1st test |  |  | Closed | 2 |  | kΩ |  | kΩ
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  |  | 5_1_参数_1 |  | 5_1_参数_2 |  | 5_1_参数_3
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC | Limit (s) | Time to EVSE sent error message (s) |  | Limit (s) |  | Control circuit supply voltage VS1 (v)
5_1_参数_5 | 11 s | 5_1_参数_6 | 12.5 s | 5_1_参数_7 |  | 11.5 s |  | 5_1_参数_8
5_1_参数_9_图片
输出电压, 输出电流, 控制电路供电
5_1_参数_10
Test description |  |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 5, 2nd test |  |  | Closed | 2.5 |  | kΩ |  | kΩ
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  |  | 5_2_参数_1 |  | 5_2_参数_2 |  | 5_2_参数_3
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC | Limit (s) | Time to EVSE sent error message (s) |  | Limit (s) |  | Control circuit supply voltage VS1 (v)
5_2_参数_5 | 11 s | 5_2_参数_6 | 12.5 s | 5_2_参数_7 |  | 11.5 s |  | 5_2_参数_8
5_2_参数_9_图片
输出电压, 输出电流, 控制电路供电
5_2_参数_10
Test description |  |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 5, 3rd test |  |  | Closed | 5 |  | kΩ |  | kΩ
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  |  | 5_3_参数_1 |  | 5_3_参数_2 |  | 5_3_参数_3
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC | Limit (s) | Time to EVSE sent error message (s) |  | Limit (s) |  | Control circuit supply voltage VS1 (v)
5_3_参数_5 | 11 s | 5_3_参数_6 | 12.5 s | 5_3_参数_7 |  | 11.5 s |  | 5_3_参数_8
5_3_参数_9_图片
输出电压, 输出电流, 控制电路供电
5_3_参数_10
Test description |  |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 5, 4th test |  |  | Closed | 10 |  | kΩ |  | kΩ
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  |  | 5_4_参数_1 |  | 5_4_参数_2 |  | 5_4_参数_3
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC | Limit (s) | Time to EVSE sent error message (s) |  | Limit (s) |  | Control circuit supply voltage VS1 (v)
5_4_参数_5 | 11 s | 5_4_参数_6 | 12.5 s | 5_4_参数_7 |  | 11.5 s |  | 5_4_参数_8
5_4_参数_9_图片
输出电压, 输出电流, 控制电路供电
5_4_参数_10
Test description |  |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 5, 5th test |  |  | Closed | 15 |  | kΩ |  | kΩ
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  |  | 5_5_参数_1 |  | 5_5_参数_2 |  | 5_5_参数_3
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC | Limit (s) | Time to EVSE sent error message (s) |  | Limit (s) |  | Control circuit supply voltage VS1 (v)
5_5_参数_5 | 11 s | 5_5_参数_6 | 12.5 s | 5_5_参数_7 |  | 11.5 s |  | 5_5_参数_8
5_5_参数_9_图片
输出电压, 输出电流, 控制电路供电
5_5_参数_10
Test description |  |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 5, 6th test |  |  | Closed | 25 |  | kΩ |  | kΩ
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  |  | 5_6_参数_1 |  | 5_6_参数_2 |  | 5_6_参数_3
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC | Limit (s) | Time to EVSE sent error message (s) |  | Limit (s) |  | Control circuit supply voltage VS1 (v)
5_6_参数_5 | 11 s | 5_6_参数_6 | 12.5 s | 5_6_参数_7 |  | 11.5 s |  | 5_6_参数_8
5_6_参数_9_图片
输出电压, 输出电流, 控制电路供电
5_6_参数_10
Asymmetrical test, case 6
Test description |  |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 6, 1st test |  |  | Closed | 2 |  | kΩ |  | kΩ
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  |  | 6_1_参数_1 |  | 6_1_参数_2 |  | 6_1_参数_3
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC | Limit (s) | Time to EVSE sent error message (s) |  | Limit (s) |  | Control circuit supply voltage VS1 (v)
6_1_参数_5 | 11 s | 6_1_参数_6 | 12.5 s | 6_1_参数_7 |  | 11.5 s |  | 6_1_参数_8
6_1_参数_9_图片
输出电压, 输出电流, 控制电路供电
6_1_参数_10
Test description |  |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 6, 2nd test |  |  | Closed | 2.5 |  | kΩ |  | kΩ
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  |  | 6_2_参数_1 |  | 6_2_参数_2 |  | 6_2_参数_3
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC | Limit (s) | Time to EVSE sent error message (s) |  | Limit (s) |  | Control circuit supply voltage VS1 (v)
6_2_参数_5 | 11 s | 6_2_参数_6 | 12.5 s | 6_2_参数_7 |  | 11.5 s |  | 6_2_参数_8
6_2_参数_9_图片
输出电压, 输出电流, 控制电路供电
6_2_参数_10
Test description |  |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 6, 3rd test |  |  | Closed | 5 |  | kΩ |  | kΩ
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  |  | 6_3_参数_1 |  | 6_3_参数_2 |  | 6_3_参数_3
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC | Limit (s) | Time to EVSE sent error message (s) |  | Limit (s) |  | Control circuit supply voltage VS1 (v)
6_3_参数_5 | 11 s | 6_3_参数_6 | 12.5 s | 6_3_参数_7 |  | 11.5 s |  | 6_3_参数_8
6_3_参数_9_图片
输出电压, 输出电流, 控制电路供电
6_3_参数_10
Test description |  |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 6, 4th test |  |  | Closed | 10 |  | kΩ |  | kΩ
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  |  | 6_4_参数_1 |  | 6_4_参数_2 |  | 6_4_参数_3
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC | Limit (s) | Time to EVSE sent error message (s) |  | Limit (s) |  | Control circuit supply voltage VS1 (v)
6_4_参数_5 | 11 s | 6_4_参数_6 | 12.5 s | 6_4_参数_7 |  | 11.5 s |  | 6_4_参数_8
6_4_参数_9_图片
输出电压, 输出电流, 控制电路供电
6_4_参数_10
Test description |  |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 6, 5th test |  |  | Closed | 15 |  | kΩ |  | kΩ
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  |  | 6_5_参数_1 |  | 6_5_参数_2 |  | 6_5_参数_3
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC | Limit (s) | Time to EVSE sent error message (s) |  | Limit (s) |  | Control circuit supply voltage VS1 (v)
6_5_参数_5 | 11 s | 6_5_参数_6 | 12.5 s | 6_5_参数_7 |  | 11.5 s |  | 6_5_参数_8
6_5_参数_9_图片
输出电压, 输出电流, 控制电路供电
6_5_参数_10
Test description |  |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Asymmetrical test, Case 6, 6th test |  |  | Closed | 25 |  | kΩ |  | kΩ
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  |  | 6_6_参数_1 |  | 6_6_参数_2 |  | 6_6_参数_3
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC | Limit (s) | Time to EVSE sent error message (s) |  | Limit (s) |  | Control circuit supply voltage VS1 (v)
6_6_参数_5 | 11 s | 6_6_参数_6 | 12.5 s | 6_6_参数_7 |  | 11.5 s |  | 6_6_参数_8
6_6_参数_9_图片
输出电压, 输出电流, 控制电路供电
6_6_参数_10
Disturbance test, case 7
Test description |  |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Disturbance test, Case 7 |  |  | Closed | 25 |  | kΩ |  | kΩ
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  |  | 7_参数_1 |  | 7_参数_2 |  | 7_参数_3
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC | Limit (s) | Time to EVSE sent error message (s) |  | Limit (s) |  | Control circuit supply voltage VS1 (v)
7_参数_5 | 31 s | 7_参数_6 | 31.5 s | 7_参数_7 |  | 32.5 s |  | 7_参数_8
7_参数_9_图片
输出电压, 输出电流, 控制电路供电
7_参数_10
Disturbance test, case 8
Test description | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Disturbance test, Case 8 | Closed | 2 |  | kΩ |  | kΩ
Operating points before fault occurrence | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 | 8_参数_1 |  | 8_参数_2 |  | 8_参数_3
The EVSE continue forward power transfer after close ST11 and ST13 |  |  |  |  | 8_参数_4
8_参数_9_图片
输出电压, 输出电流
Disturbance test, case 9
Test description |  |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Disturbance test, Case 9 |  |  | Closed | 25 |  | kΩ |  | kΩ
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  |  | 9_参数_1 |  | 9_参数_2 |  | 9_参数_3
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC | Limit (s) | Time to EVSE sent error message (s) |  | Limit (s) |  | Control circuit supply voltage VS1 (v)
9_参数_5 | 11 s | 9_参数_6 | 12.5 s | 9_参数_7 |  | 11.5 s |  | 9_参数_8
9_参数_9_图片
输出电压, 输出电流, 控制电路供电
9_参数_10
Disturbance test, case 10
Test description |  |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Disturbance test, Case 10 |  |  | Closed | 25 |  | kΩ |  | kΩ
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  |  | 10_参数_1 |  | 10_参数_2 |  | 10_参数_3
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC | Limit (s) | Time to EVSE sent error message (s) |  | Limit (s) |  | Control circuit supply voltage VS1 (v)
10_参数_5 | 11 s | 10_参数_6 | 12.5 s | 10_参数_7 |  | 11.5 s |  | 10_参数_8
10_参数_9_图片
输出电压, 输出电流, 控制电路供电
10_参数_10
Disturbance test, case 11
Test description |  |  | ST12, ST14 state | CT1, CT2 capacitance (μF) |  | RT5 Resistance (kΩ) |  | RT6 Resistance (kΩ)
Disturbance test, Case 11 |  |  | Closed | 25 |  | kΩ |  | kΩ
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) |  | PEVSE_max (kW)
OP5 |  |  | 11_参数_1 |  | 11_参数_2 |  | 11_参数_3
Time to reduce current < 5 A DC | Limit (s) | Time to reduce current < 60 V DC | Limit (s) | Time to EVSE sent error message (s) |  | Limit (s) |  | Control circuit supply voltage VS1 (v)
11_参数_5 | 11 s | 11_参数_6 | 12.5 s | 11_参数_7 |  | 11.5 s |  | 11_参数_8
11_参数_9_图片
输出电压, 输出电流, 控制电路供电
11_参数_10
Supplementary information: