## Sheet1
CC.7.6.5.1 | TABLE: Emergency shutdown caused by an overvoltage (test 1) | [8 empty] | P/F
TP1: IEVSE_min + 0,5 × (IEVSE_max – IEVSE_min), min(VEVSE_max; 500 V) – 50 V=(计算值 A, 计算值V)
TP1 is always applicable
Operating points before fault occurrence |  |  |  | IEVSE_intended_1 (A) |  | VEVSE_intended_1 (V) |  | PEVSE_intended_1 (kW)
TP1 |  |  |  | 1_参数_1 |  | 1_参数_2 |  | 1_参数_3
Time for turn off CP oscillator after tovervoltage (ms) |  | Limit | Time to present current at side B to≤5ADC and disable its side B after tovervoltage (ms) |  | Limit |  | Time to reach safe voltage from fault occurrence after tovervoltage (ms) |  | Limit
1_参数_4 |  | ≤20ms | 1_参数_5 |  | ≤30ms |  | 1_参数_6 |  | ≤1010ms
1_参数_7_图片
TP2: IEVSE_min + 0,5 × (IEVSE_max – IEVSE_min), min(VEVSE_max; 750 V) – 50 V=(计算值 A, 计算值V)
TP2 is only applicable if VEVSE_max > 500 V.
Operating points before fault occurrence |  |  | IEVSE_intended_2 (A) |  | VEVSE_intended_2 (V) |  | PEVSE_intended_2 (kW)
TP2 |  |  | 2_参数_1 |  | 2_参数_2 |  | 3_参数_3
Time for turn off CP oscillator after tovervoltage (ms) | Limit | Time to present current at side B to≤5ADC and disable its side B after tovervoltage (ms) |  | Limit |  | Time to reach safe voltage from fault occurrence after tovervoltage (ms) |  | Limit
2_参数_4 | ≤20ms | 2_参数_5 |  | ≤30ms |  | 2_参数_6 |  | ≤1010ms
2_参数_7_图片
TP3: IEVSE_min + 0,5 × (IEVSE_max – IEVSE_min), min(VEVSE_max; 850 V) – 50 V=(计算值 A, 计算值V)
TP3 is only applicable if VEVSE_max > 750 V.
Operating points before fault occurrence |  |  | IEVSE_intended_3 (A) |  | VEVSE_intended_3 (V) |  | PEVSE_intended_3 (kW)
TP3 |  |  | 3_参数_1 |  | 3_参数_2 |  | 3_参数_3
Time for turn off CP oscillator after tovervoltage (ms) | Limit | Time to present current at side B to≤5ADC and disable its side B after tovervoltage (ms) |  | Limit |  | Time to reach safe voltage from fault occurrence after tovervoltage (ms) |  | Limit
3_参数_4 | ≤20ms | 3_参数_5 |  | ≤30ms |  | 3_参数_6 |  | ≤1010ms
3_参数_7_图片
TP4: IEVSE_min + 0,5 × (IEVSE_max – IEVSE_min), min(VEVSE_max; 1000 V) – 50 V=(计算值 A, 计算值V)
TP4 is only applicable if VEVSE_max > 850 V.
Operating points before fault occurrence |  |  | IEVSE_intended_4 (A) |  | VEVSE_intended_4 (V) |  | PEVSE_intended_4 (kW)
TP4 |  |  | 4_参数_1 |  | 4_参数_2 |  | 4_参数_3
Time for turn off CP oscillator after tovervoltage (ms) | Limit | Time to present current at side B to≤5ADC and disable its side B after tovervoltage (ms) |  | Limit |  | Time to reach safe voltage from fault occurrence after tovervoltage (ms) |  | Limit
4_参数_4 | ≤20ms | 4_参数_5 |  | ≤30ms |  | 4_参数_6 |  | ≤1010ms
4_参数_7_图片
Supplementary information: