## Sheet1
CC.7.6.5.2 | TABLE: Emergency shutdown caused by an overvoltage (test 2) | [6 empty] | P/F
TP: IEVSE_min + 0,5 × (IEVSE_max – IEVSE_min), VEVSE_max – 50 V=(计算值 A, 计算值V)
Operating points before fault occurrence |  |  | IEVSE (A) |  | VEVSE (V) | PEVSE_max (kW)
TP |  |  | 参数_1 |  | 参数_2 | 参数_3
Time to present current at side B to≤5ADC and disable its side B after tovervoltage (ms) |  | Limit |  | Time to reach safe voltage from fault occurrence after tovervoltage (ms) |  |  | Limit
参数_4 |  | ≤1450ms |  | 参数_5 |  |  | ≤2950ms
参数_6_图片
Supplementary information: